Appendix No.1

FIRE SAFETY REGULATIONS

1. Third-party builders and exhibitors bear responsibility for fire safety and observance of fire-prevention actions at the stand during installation, work and dismantle of an exhibition.

2. Control over the implementation of requirements of these rules is exercised by authorized representatives of the service company of pavilions and   “Atakent-Expo” IEC” LLP.

3. The plan of the stand which is built up independently has to be provided in technical department of “Atakent-Expo” IEC” LLP for consideration no later than established periods.

4. Participants of an exhibition on request of authorized representatives of the service company  of pavilions, or “Atakent-Expo” IEC” LLP are obliged to provide the corresponding documentation characterizing combustibility degree on all construction and finishing materials used at construction of the stand.

5. Motionless designs of stands can be made from usual construction materials, with a usual class of an inflammability (a metal construction, a metalprofile, gypsum cardboard, LDSP, etc.). Nonflammable and slow-burning materials have to be applied to external and internal finishing. In case of installation of two-floor stands the ladder has to be made of nonflammable or slow-burning materials, or is processed by fireproof structure with drawing up the relevant act, (as at two-floor stands the ladder is the only evacuation way from the second floor).

6. Wooden designs of a scenic box (scenes, podiums), wooden bars, wooden floorings under stands, fabric, and also pallets under the working electric equipment have to be processed by fireproof structure with drawing up the relevant act.

7. In case of stay in the isolated rooms (stands) of the ground or second floor more than 50 people, the second emergency exit has to be provided.

8. Width of passes between stands has to make not less than 3 meters.

9. The carpet has to be strongly attached to a floor on perimeter and on joints. It has to be made of hardly flammable material (not to light up from the burning match or a cigarette).

10.  It is forbidden to establish any designs on the ways of evacuation and movement of visitors (in the established passes), to encumber technical passes, and also to store in them materials and container. It is forbidden to place and store materials, clothes, footwear, etc. personal belongings outside the area of installation of the exhibition stand. To contain access to the fireplugs and electroboards (located near or behind the stand) the free. Concerning warehousing of materials and container to address to the ELKaz Expologistik Kazakhstan (+7 727 250-27-15) company, service of the company should be paid. Daily on the termination of the working day, stands have to be cleared of combustible materials and garbage. It is necessary to de-energize all electric devices except for refrigerators and the equipment involved in continuous technological process. The garbage has to keep within without fail garbage packages and be taken out on a dustbin in packed form, except for the largest parts and details. Export from the territory of  EC "Atakent" of large-size garbage more than 0,5 cubic meters   is carried out by the builder's forces. The dustbin is located from South side of pavilion 10 A.

11. At exhibition stands storage of flammable and combustible materials, installation of vessels with combustible gases is forbidden. Use of naked flame and carrying out welding works in pavilions is strictly forbidden.

12.  At open laying of power supply networks (if there is no danger of mechanical damage) it is allowed to apply cables with a fireproof or fire-resistant external cover. All connections and branches of wires and cables have to be carried out by welding, the soldering, pressing or special clips. A junction and branches of a vein of wires and cables have to be isolated reliably.

13.  For lighting of stands the lamps of the protected execution provided by manufacturer have to be used. Application in lamps of lenses from polystyrene and other flammable materials is forbidden. The distance from lamps to combustible construction designs has to be not less than 20 cm, and to combustible materials not less than 0,5 m.

14. Electric heaters (electric kettles, microwave ovens, irons, toasters, coffee makers, etc.) can be used only with a fire-resistant support (metal, ceramic, a support from fire-resistant glass, etc.)

15. Installation and demonstration of the exhibits and processes connected with possibility of the fire (welding and the plumbing, other types of works connected with naked flame, combustible solvents etc.), are subject to coordination with authorized representatives of the service companies  of pavilions.

16. Smoking in exhibition halls is forbidden!

17. If registration of an exposition doesn't correspond to these rules, representatives of “Atakent-Expo” IEC” LLP and service company  of pavilions has the right to demand a suspension of installation of the stand before correction of the revealed violations, in need of dismantle of an exposition.

18. All exhibitors, and also Third-party builders have to know and observe measures of fire safety. For violation of the rules of fire safety penalties according to the table of the penalties specified in the Contract/agreement accreditation are in accordance with the established procedure applied to exhibitors and builders of stands.