Appendix No.2

REQUIREMENTS FOR IMPLEMENTATION 
MOUNTING AND ELECTRICAL WORKS

- Carry out installation and electrical work involved only organizations who have passed procedure of accreditation in  IEC "Atakent-Expo" LLP. The organizations which are carrying out high-rise works don't undergo procedure of accreditation, but their workers have to have acting the certificate  of industrial climbers, and also other documents, according to rules of industrial safety. Installation works have to be carried out with observance of construction, installation standards and the rules existing in the Republic of Kazakhstan, and also with observance of safety regulations and the fire safety, specified in Appendices No.1,2,3.

- Stand structure must be easy to install and the most ready-to-assemble. It is forbidden to fix something to the supporting structures of the pavilion without  permission from the General builder. It is forbidden to apply paint, a varnish, glue or other hard-to-remove covering on floors, walls and columns of exhibition halls. It is forbidden to lean against walls, columns, windows and doorways of showroom any construction designs and materials. It is forbidden to paste and place information indexes on walls, windows, columns, on a floor of showroom, on fire cases and other elements of an interior of the hall, to put damages to a covering of floors in pavilions, asphalt concrete and stacked coverings of open territories of EC "ATAKEHT". All stands and shoddy constructions, including hinged, have to be installed in borders of the area which is taken away for an exhibitor. Not allowed production sawing, planing and other carpentry work related to the production of a stand, as well as paint work associated with covering the whole construction assembling stand. Use of silicate glass without armor film at height more than 1.8 m from a floor is forbidden.   Installation of elements of non-standard designs of the stands and interior registration which aren't exhibits in standard modular designs (independent completion or the registration making essential impact on a design of the standard stand by the Participant or the Third-party builder) it is possible only in coordination with the General builder after passing of control of design technical documentation of alleged works.

- It is forbidden to perform welding works, cutting, grinding of metals and wood in exhibition halls.  It is forbidden to punch, drill holes in the walls and floor of the pavilion. If on the stand planned painting,  whitewashing  works etc. (with the release of dust), it is necessary to isolate the stand by construction grid, or other protective material interfering penetration of dust on the next stands.

- During  installation works in pavilions builders of exhibition stands must to have  own tools, materials and supportive technical means, such as a ladder, deadhead, etc.  Also all employees of the Builders are obliged to be in overalls with a  company logo and in protective helmets.  It is forbidden to use the furniture taken from the next stands for own needs. It is forbidden to use stands of other builders and the furniture delivered by participants of the exhibition and the equipment for production of installation and construction works, rest and meal. It is forbidden to take out exhibition furniture and the equipment out of borders of the square of installation of the exhibition stand. During installation and dismantle of the stand the responsible person of the builder has to be near the stand.

- After the dismantling of the exhibition area must be left clean. Not disassemble by caving.

- Electrical installation and maintenance of electrical equipment on the stands exhibitions allowed a person meets the requirements for electrical engineering personnel and qualified candidates for electrical (not below the third group).

- All electrical work must be performed in accordance with applicable rules of operation of electrical installations, safety regulations, fire safety regulations and construction norms. Thus it is necessary to fulfill the special requirements caused by features of exhibition actions.

- Electrical work is performed in accordance with an individual plan diagram booth provided by the exhibitor, which must be specified connection points to the power supply sources, locations of power and lighting equipment, as well as the maximum permissible loads for each unit. It is forbidden to be connected to the EC "Atakent" engineering networks without permission of the representative of  IEC “Atakent-Expo” LLP.

- Since admission staff to installation, in order to prevent violations, supervised by the technical staff of IEC “Atakent-Expo” LLP.

- All electrical work on live sites must be carried out only when de-energized.

- In open areas and passageways, shall be covered cable with special ramps.

- Laying of the unprotected electricity cable and installation of lighting fixtures on highly inflammable designs is forbidden.

- All connections and branches of wires and cables performed only by special clamps and connectors. It is forbidden to connect to an electrical current collectors by direct wiring.

- Each stand must be equipped with a power corresponding to the rated load protection devices, separately for the lighting network, process equipment, and equipment needing the around the clock nutrition.

- Electrical junction devices shall be easily accessible.

- Lighting of the stands should be applied electrical lamps used to Fire Hazard Class A2.

- Upon completion of electrical works representative of  EIC “Atakent-Expo" LLP  checks the quality of the installation and connects to the power source. Placement at the stands of standard building of additional lighting or mobile stands having own electric chains is allowed only in coordination with the General builder.

- Removing the voltage of the input device at the end of the exhibition  is made by the electrotechnical personnel of  IEC “Atakent-Expo” LLP according to the demand of the representative of exhibitor or  responsible person for dismantle.

- Dismantle of electric equipment and the corresponding shutdown at the stand makes the personnel who carried out installation.

- Mounting structures and design elements to the supporting structures of pavilions has to be made by specialists of high-rise works. When carrying out installation works at the height more than 5 m from level of a floor shall be carried out safety requirements set out in the "The standard instruction on labor protection for the workers performing steeplejack works of RK".

- Categorically forbids the presence of minor children in the halls in assembling and dismantling days.

- Installation of a suspended design has to be carried out in the presence of the representative of the company on service of pavilions. The maximum weight of a suspended design shouldn't exceed 400 kg.

It is forbidden to fix to an insurance point elements or parts of the stand which weight exceeds 400 kg.